## AMC Open Tickets
Ahmedabad Smartcity
AMC Open Tickets
by NMS at 15-10-2026 12:49 PM
Report Time Period : 11-12-2019 12:49 PM to 15-10-2026 12:49 PM
Id | Department | AMC ID | IP | Subject | Status | Site Type | Device Type | Created Time | Down Reason | Down ANPR | Down RLVD | Down Junction PTZ | Down Access Points | Down Fix Camera | Down Motorized Camera | Down Surveillance PTZ | PA System | Bridge Camera | BRTS Camera (ANPR) | Zone | Tags | Actual Device Down Time
AMC-2249672 | AMC | NA | NA | TALAVDI | Open | VMD | VMD Display | 06-2-2024 03:21 PM | VMD Ratification | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | --- | --- | Westzone | AMC 2025 | ---
AMC-2264523 | AMC | NA | --- | Naroda Bethak | Open | Unassigned | Unassigned | 25-3-2025 12:53 PM | Unassigned | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Unassigned | AMC 2025 | ---
AMC-2265278 | AMC | NA | NA | Hetarth Party Plot | Open | VMD | VMD Display | 05-5-2025 01:56 PM | MCB/RCCB BURNT OR FAULTY | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Westzone | AMC 2025 | ---
AMC-2266392 | AMC | NA | NA | Lemon Tree | Open | VMD | VMD Display | 16-6-2025 02:54 PM | Black Patch | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Westzone | AMC 2025 | ---
AMC-2267690 | AMC | NA | NA | Zipline RiverFront | Open | VMD | VMD Display | 31-7-2025 11:09 AM | Black Patch | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Westzone | AMC 2025 | ---
AMC-2272760 | AMC | 1941 | 10.38.39.58 | Sutarkhana Karkhana Tran Rasta Primary SWITCH AMC 1941 ( 10.38.39.58 ) | Open | Junction | Primary Switch | 19-2-2026 05:02 PM | Power Outage | 6 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Northzone | AMC 2025 | 18-2-2026 11:28 PM
AMC-2272783 | AMC | 739 | 10.33.50.62 | Vagh Bakri Tea Junction Camera P3L1 AMC - 739 ( 10.33.50.62 ) | Open | Junction | ANPR Camera | 20-2-2026 05:00 PM | Cat6 cable Cut due to AMC work | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Westzone | AMC 2025 | 20-2-2026 12:31 AM
AMC-2272806 | AMC | 935 | 10.38.30.82 | JCP SECTOR 1 P S Sw AMC 935 ( 10.38.30.82 ) | Open | Police Station | Dlink Switch | 21-2-2026 05:30 PM | Internal Maintenance work | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Northzone | BSNL TO AMC | 05-3-2025 07:50 AM
AMC-2273401 | AMC | BRTS CAMERA | 0.0.0.0 | BRTS CAMERA | Open | BRTS | Fix Camera | 20-3-2026 07:40 PM | AMC Maintenance Work | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 138 | Westzone | AMC 2025 | 24-3-2026 07:45 PM
AMC-2273402 | AMC | BRTS AP | 0.0.0.0 | BRTS AP | Open | BRTS | Fix Camera | 20-3-2026 07:42 PM | AMC Maintenance Work | 0 | 0 | 0 | 87 | 0 | 0 | 0 | 0 | 0 | 0 | Westzone | AMC 2025 | 18-3-2026 07:47 PM
AMC-2274703 | AMC | 1928 | 10.33.50.67 | Commerce Six Roads SWITCH P2 AMC 1928 ( 10.33.50.67 ) | Open | Junction | Primary Switch | 05-5-2026 03:49 PM | power and cat6 cables cut due to AMC work | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Westzone | AMC 2025 | 05-5-2026 01:06 AM
AMC-2275149 | AMC | 1892 | 10.37.43.99 | Fly over bridge of narol cross road switch 2 AMC 1892 ( 10.37.43.99 ) | Open | NEW BRIDGE | Secondary Switch | 21-5-2026 06:06 PM | Power cable cut due to AMC work | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | Southzone | AMC 2025 | 03-4-2026 07:59 PM
AMC-2275322 | AMC | NA | NA | Kargil Petrol Pump | Open | VMD | VMD Display | 27-5-2026 04:38 PM | Black Patch | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Westzone | AMC 2025 | 27-5-2026 04:41 PM
AMC-2276400 | AMC | 725 | 10.35.8.200 | Jivraj Park Cross Road Junction PTZ Camera AMC 725 ( 10.35.8.200 ) | Open | Junction | Junction PTZ Camera | 29-6-2026 12:53 PM | Power cable cut due to AMC work | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Newwestzone | AMC 2025 | 28-6-2026 04:14 PM
AMC-2276564 | AMC | 1801 | 10.38.39.114 | AMC 1801 Naroda GIDC Estate Gate No 02 Primary SWITCH ( 10.38.39.114 ) | Open | Junction | Primary Switch | 04-7-2026 05:23 PM | AMC Maintenance Work | 10 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Northzone | AMC 2025 | 08-5-2026 12:08 PM
AMC-2276776 | AMC | LKM-1755 | 10.33.7.147 | Prahladnagar Garden Entry Exit Amc -LKM 1755 ( 10.33.7.147 ) | Open | Surveillance | Fix Camera | 08-7-2026 06:10 PM | Power Cable Faulty | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | Westzone | AMC 2025 | 27-6-2026 06:17 PM
AMC-2277400 | AMC | NA | NA | Sports Complex | Open | VMD | VMD Display | 26-7-2026 02:46 PM | Black Patch | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Westzone | AMC 2025 | 26-7-2026 02:51 PM
AMC-2278195 | AMC | 661 | 10.33.23.82 | Ganthiyarath Chandkheda Switch AMC 661 ( 10.33.23.82 ) | Open | Surveillance | Dlink Switch | 17-8-2026 06:04 PM | Power Outage | 0 | 0 | 0 | 0 | 4 | 0 | 1 | 0 | 0 | 0 | Westzone | AMC 2025 | 17-8-2026 12:03 AM
AMC-2278596 | AMC | 1066 | 10.33.22.42 | Nava Vadaj-3_school Switch AMC 1066 ( 10.33.22.42 ) | Open | Surveillance | Dlink Switch | 02-9-2026 01:23 PM | Site Shifted | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | Westzone | AMC 2025 | 02-9-2026 11:03 AM
AMC-2278790 | AMC | 1935 | 10.38.39.18 | Rubi T Tran Rasta Primary SWITCH AMC 1935 ( 10.38.39.18 ) | Open | Junction | Primary Switch | 10-9-2026 01:52 PM | Power cable cut due to AMC work | 8 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Northzone | AMC 2025 | 10-9-2026 12:07 PM
AMC-2278997 | AMC | NA | NA | Toyota Circle | Open | VMD | VMD Display | 15-9-2026 06:20 PM | Black Patch | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Westzone | AMC 2025 | 15-9-2026 06:25 PM
AMC-2279227 | AMC | 576 | 10.38.16.66 | Anmol Tower Switch AMC 576 ( 10.38.16.66 ) | Open | Surveillance | Dlink Switch | 21-9-2026 05:51 PM | AMC Maintenance Work | 0 | 0 | 0 | 0 | 4 | 0 | 1 | 0 | 0 | 0 | Northzone | AMC 2025 | 21-9-2026 04:47 PM
AMC-2279430 | AMC | 1815 | 10.37.42.10 | Vatva station T Switch AMC 1815 ( 10.37.42.10 ) | Open | Surveillance | Dlink Switch | 27-9-2026 05:22 PM | AMC Maintenance Work | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | Southzone | AMC 2025 | 22-7-2026 01:23 PM
AMC-2279670 | AMC | 1862 | 10.37.43.82 | Ghodasar New Bridge Switch 1 AMC 1862 ( 10.37.43.82 ) | Open | NEW BRIDGE | Dlink Switch | 05-10-2026 06:57 PM | Power Outage | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | Southzone | AMC 2025 | 05-10-2026 11:26 AM
AMC-2279690 | AMC | 718 | 10.43.150.50 | Jawahar Chowk Switch AMC 718 ( 10.43.150.50 ) | Open | Junction | Primary Switch | 06-10-2026 05:17 PM | Power Outage | 9 | 3 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Southzone | AMC 2025 | 06-10-2026 04:33 PM
AMC-2279708 | AMC | 876 | 10.34.30.34 | KAGDAPITH POLICE STATION AMC 876 ( 10.34.30.34 ) | Open | Police Station | Dlink Switch | 07-10-2026 12:13 PM | Site Permanently Closed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Centralzone | AMC 2025 | 07-10-2026 10:29 AM
AMC-2279754 | AMC | 1933 | 10.38.39.10 | AMC 1933 Haridarshan Char Rasta Primary SWITCH ( 10.38.39.10 ) | Open | Junction | Primary Switch | 08-10-2026 04:36 PM | Power Outage | 13 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Northzone | AMC 2025 | 08-10-2026 11:22 AM
AMC-2279775 | AMC | 820 | 10.36.5.67 | Odhav Fire Station Cross Road 820 PTZ Camera ( 10.36.5.67 ) | Open | Surveillance | Dlink Switch | 09-10-2026 01:38 PM | AMC Maintenance Work | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Eastzone | AMC 2025 | 03-10-2026 06:34 PM
AMC-2279824 | AMC | 1106 | 10.38.22.202 | Asarwa 15 school Switch AMC 1106 ( 10.38.22.202 ) | Open | Surveillance | Dlink Switch | 10-10-2026 05:04 PM | Site Accessibility Issue | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | Northzone | AMC 2025 | 10-10-2026 01:49 PM
AMC-2279852 | AMC | 1777 | 10.33.8.132 | Ganesh housing junction P1 L2 Camera ( 10.33.8.132 ) Amc - 1777 | Open | Junction | Fix Camera | 12-10-2026 01:09 PM | Cat 6 Cable Faulty | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Westzone | AMC 2025 | 12-10-2026 12:25 PM
AMC-2279853 | AMC | 1158 | 10.38.22.75 | School_Naroda 4 Camera ( 10.38.22.75 ) Amc - 1158 | Open | Surveillance | Fix Camera | 12-10-2026 01:21 PM | Site Accessibility Issue | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | Northzone | AMC 2025 | 12-10-2026 12:31 PM
AMC-2279864 | AMC | 985 | 10.35.21.114 | School SARKARI VASAHAT VASTRAPUR PRI AMC 985 ( 10.35.21.114 ) | Open | Surveillance | Dlink Switch | 12-10-2026 05:30 PM | Site Accessibility Issue | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | Newwestzone | AMC 2025 | 12-10-2026 05:14 PM
AMC-2279928 | AMC | 349 | 10.38.32.74 | FTTH WDS Nobal Nagar AMC 349 ( 10.38.32.74 ) | Open | Surveillance | Dlink Switch | 14-10-2026 11:40 AM | AMC Maintenance Work | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | Northzone | AMC 2025 | 14-10-2026 10:50 AM
AMC-2279932 | AMC | 656 | 10.43.150.10 | Express Highway Switch AMC 656 ( 10.43.150.10 ) | Open | Junction | Primary Switch | 14-10-2026 12:47 PM | Torrent meter power down | 4 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | Southzone | AMC 2025 | 14-10-2026 11:41 AM
AMC-2279934 | AMC | 619 | 10.38.15.2 | Chamunda under bridge Switch AMC 619 ( 10.38.15.2 ) | Open | Surveillance | Dlink Switch | 14-10-2026 01:05 PM | Torrent meter power down | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | Northzone | AMC 2025 | 14-10-2026 12:22 PM
AMC-2279936 | AMC | 298 | 10.38.38.50 | FTTH Bus Depot Krishnanagar Switch AMC 298 ( 10.38.38.50 ) | Open | Surveillance | Dlink Switch | 14-10-2026 02:16 PM | Power Outage | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | Northzone | AMC 2025 | 14-10-2026 01:06 PM
AMC-2279937 | AMC | 1256 | 10.37.22.66 | Danilimda Urdu 1 Switch AMC 1256 ( 10.37.22.66 ) | Open | Surveillance | Dlink Switch | 14-10-2026 04:33 PM | Site Accessibility Issue | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | Southzone | AMC 2025 | 14-10-2026 02:45 PM
AMC-2279941 | AMC | 458 | 10.33.33.2 | WDS Chand Sreenath Switch AMC 458 ( 10.33.33.2 ) | Open | Surveillance | Dlink Switch | 14-10-2026 06:17 PM | Power Outage | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | Westzone | AMC 2025 | 14-10-2026 05:02 PM
AMC-2279942 | AMC | 974 | 10.37.21.18 | FTTH PIPALJ PRIMARY SCHOOL Switch AMC 974 ( 10.37.21.18 ) | Open | Surveillance | Dlink Switch | 14-10-2026 06:48 PM | Site Accessibility Issue | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Southzone | AMC 2025 | 14-10-2026 04:46 PM
AMC-2279943 | AMC | 973 | 10.33.21.10 | Niryannagar Primary Shcool Switch AMC 973 ( 10.33.21.10 ) | Open | Surveillance | Dlink Switch | 14-10-2026 07:01 PM | Site Accessibility Issue | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Westzone | AMC 2025 | 14-10-2026 06:31 PM
AMC-2279945 | AMC | 1051 | 10.33.21.122 | Vasana School 5 Switch AMC 1051 ( 10.33.21.122 ) | Open | Surveillance | Dlink Switch | 14-10-2026 07:03 PM | Site Accessibility Issue | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | Westzone | AMC 2025 | 14-10-2026 06:37 PM
AMC-2279952 | AMC | 960 | 10.35.21.2 | Chandlodiya Primary School 1 AMC 960 ( 10.35.21.2 ) | Open | Surveillance | Dlink Switch | 15-10-2026 11:34 AM | Torrent meter power down | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | Newwestzone | AMC 2025 | 15-10-2026 10:42 AM
AMC-2279953 | AMC | 413 | 10.33.32.122 | FTTH WDS Sahidvan Switch AMC 413 ( 10.33.32.122 ) | Open | Surveillance | Dlink Switch | 15-10-2026 11:55 AM | Power Outage | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | Westzone | AMC 2025 | 15-10-2026 11:06 AM